## Slide 1
The Electrical Prober
A modern foundation for wafer-probe testing
A non-technical overview
Internal Overview

## Slide 2
BACKGROUND
Why This Project Exists
▸ Our old system was costly and hard to maintain — it depended on aging, specialized software and a shrinking pool of engineers who knew it.
▸ Every new product meant rewriting the program itself — not just changing a setting.
▸ We rebuilt it on modern, open foundations — easier to maintain, extend, and hand off for years to come.
2
ADD IMAGE
Suggested: the prober station this project began with

## Slide 3
OVERVIEW
What It Does, In Short
In short: it runs a robotic wafer prober and its lab instruments to test every chip on a wafer automatically, and shows results live as it happens.
One application handles the whole job — setup, testing, monitoring, and export — in one place.
Live view — position, pass/fail, and yield update in real time
3

## Slide 4
MODERNIZING THE BENCH
One Modern Program, Two Aging Machines
Two different prober brands, from two different eras — each running its own aging control software.
One depended on Windows XP, unsupported for years and a growing security risk.
Now one modern program drives both, with a single switch between them — recipes, results, and exports work the same either way.
The same program, now driving the Electroglas system
4

## Slide 5
A DIFFERENT PHILOSOPHY
From Rigid to Flexible
The old system had its knowledge buried in code — changing anything meant a software rewrite, by someone who knew the old tool.
Now, probe cards, test steps, and wafer layouts are all built and edited on screen — no programming required.
Bringing up a new product is now a configuration task, not a software project.
Building a test recipe on screen — no code required
5

## Slide 6
CONNECTING THE LAB
One Language for Every Instrument
▸ Every instrument speaks a shared, industry-standard language — regardless of age or manufacturer.
▸ The software translates plain requests — like “apply 5 volts” or “read the current” — into whatever that instrument needs.
▸ New equipment plugs in without reworking the rest of the program — keeping the system future-proof as the bench evolves.
6
ADD IMAGE
Suggested: instruments connected on the bench

## Slide 7
THE CORE IDEA
The Wafer Map: The Foundation Underneath
Before testing starts, the software needs to know the wafer's layout — how many chips, and exactly where.
That map becomes the shared foundation for everything else: the recipe follows it, the live view tracks it, and results are painted directly onto it.
It's a reusable foundation, not just a picture of the wafer.
Wafer Builder - the shared map every other screen relies on
7

## Slide 8
THE CORE IDEA, CONTINUED
The Single Biggest Thing to Reuse
This wafer-map engine is the single most valuable piece to carry into future projects.
▸ Works for any equipment stepping through fixed positions — not just wafers.
▸ Pass/fail visuals and inspection tools come built in — for free, on day one.
▸ A new layout is a data change — not a redesign.
8
ADD IMAGE
Suggested: the same map applied to a different layout

## Slide 9
RESULTS
Seeing the Whole Wafer at a Glance
As each chip is tested, results color in live — so patterns like a bad edge or failing cluster jump out immediately.
Every measurement is saved and can be exported in whatever format the next step needs.
Pass/fail map and data export, in one view
9

## Slide 10
UNATTENDED OPERATION
Many Wafers, One Operator
A full cassette of wafers can be loaded, tested, and advanced automatically, one after another.
A yield threshold decides when to keep going and when to pause for a person — so one operator can oversee many wafers at once.
Unattended, multi-wafer runs
10

## Slide 11
PROJECT ORGANIZATION
Everything for One Product, in One Folder
Every product gets one self-contained folder — its probe cards, recipes, wafer maps, and settings, all together.
That folder can be copied, backed up, or handed to another bench directly — with nothing to hunt for.
Everything for one product, organized in one place
11

## Slide 12
OUTCOME
What We Gained
▸ A safer, supported foundation — no more running on an unsupported operating system.
▸ A flexible, configurable system — new products are a setup task, not a coding project.
▸ Lower cost — no more per-seat software licensing.
▸ Easier to maintain and hand off — a real, reviewable codebase in a language far more engineers already know.
12
ADD IMAGE
Suggested: before-and-after comparison

## Slide 13
LOOKING AHEAD
Where Else This Could Go
The same foundation — connected instruments plus step-by-step recipes — fits far more than wafer probing.
▸ Other wafer probers — any brand, any bench.
▸ Burn-in and reliability racks — many parts, stepped through the same test sequence.
▸ Functional test benches — circuit boards and modules, not just wafers.
▸ Any process still stuck on old, unsupported tools — a strong candidate for the same rebuild.
13
ADD IMAGE
Suggested: other applications this could support

## Slide 14
Same hardware. Modern, configurable software.
Questions / discussion
14